EcoSol

Exemplary analysis with simplified input form

Calculation of energy consume and costs of energy generation in systems using collectors, solar cells and an additional heating system

	Last name; first name
	

	Street; number
	

	Postal code; city
	

	Country
	

	Telefone
	

	Fax
	

	Email
	

	Location of building (city):
	

	Customer number
	


Projekt EcoSol

Christoph Peschke

Ernststraße 53

D 53757 Sankt Augustin

Germany

Tel. 02241 1455265
Email: chpeschke@unitybox.de
Web: www.economic-solar-energy.de

Contents

21.
Energy consume as function of the collector area


32.
Required area of solar cells


32.1.
System 1


32.2.
System 3


43.
Costs


43.1.
System 1


43.1.1.
System 1, collectors only


43.1.2.
System 1 with solar cells


53.2.
System 3


53.2.1.
System 3, collectors only


53.2.2.
System 3 with collectors


64.
Complete consulting




 AUTONUM 
Energy consume as function of the collector area

The additional energy consume for heating and warm water is shown as function of the installed collector area.

1. Collectors coupled to the energy storage, standard collector
(Data set: beratung-unser-haus-EJEG_N-st0.dat)

2. Intermediate coupling and air heat exchanger
(beratung-unser-haus-ZJEG-L_N-st0.dat)

3. System with intermediate coupling, air heat exchanger and reuse of warm water energy
(beratung-unser-haus-ZJEG-L-WW_N-st0.dat)

4. System with intermediate coupling, air heat exchanger, reause of warm water energy and vacuum tube collector
(beratung-unser-haus-ZJEG-L-WW_N-st0-roehre.dat)

[image: image1.wmf]beratung-unser-haus-EJEG_N-st0.dat

beratung-unser-haus-ZJEG-L_N-st0.dat

beratung-unser-haus-ZJEG-L-WW_N-st0.dat

beratung-unser-haus-ZJEG-L-WW_N-st0-roehre.dat

Area [qm]

18

17

16

15

14

13

12

11

10

9

8

7

6

5

4

3

2

1

0

Annual energy consumption [kWh]

14.000

12.000

10.000

8.000

6.000

4.000

2.000

0

13.308,889

11.867,429

11.492,52

11.303,331

13.308,889

6.585,386

3.875,961

2.621,885

10.987,778

5.278,81

2.953,218

2.125,369

10.987,778

5.176,739

2.832,86

1.997,405


Additional assumption to input form: 

Efficiency of vacuum tube collecors: 

α := 0.8

β:= 0,46

 AUTONUM 
Required area of solar cells

The area of solar cells required for generating the annual amount of electrical energy consumed.
 AUTONUMLGL 
System 1

[image: image2.wmf]beratung-unser-haus-EJEG_N-st0.dat

Area [qm]

18

17

16

15

14

13

12

11

10

9

8

7

6

5

4

3

2

1

0

Area of solar cells (total) [qm]

55

50

45

40

35

30

25

20

15

10

5

0

50,968

50,998

50,999

50,999


 AUTONUMLGL 
System 3

[image: image3.wmf]beratung-unser-haus-ZJEG-L-WW_N-st0.dat

Area [qm]

18

17

16

15

14

13

12

11

10

9

8

7

6

5

4

3

2

1

0

Area of solar cells (total) [qm]

75

70

65

60

55

50

45

40

35

30

25

20

15

10

5

0

50,968

62,174

66,823

68,195


 AUTONUMLGL 
Costs

The annual costs of the heating system including repayment and energy consume are shown.

 AUTONUMLGL 
System 1

 AUTONUMLGL 
System 1, collectors only

[image: image4.wmf]beratung-unser-haus-EJEG_N-st0.dat : Left axis

beratung-unser-haus-EJEG_N-st0.dat : Right axis

Collector area [qm]

18

17

16

15

14

13

12

11

10

9

8

7

6

5

4

3

2

1

0

Costs [EUR/Year]

3.000

2.800

2.600

2.400

2.200

2.000

1.800

1.600

1.400

1.200

1.000

800

600

400

200

0

Energy [kWh/Year]

14.000

13.000

12.000

11.000

10.000

9.000

8.000

7.000

6.000

5.000

4.000

3.000

2.000

1.000

0

2.504,225

2.694,159

2.760,586

2.841,867

13.308,889

11.867,429

11.492,52

11.303,331


 AUTONUMLGL 
System 1 with solar cells

[image: image5.wmf]beratung-unser-haus-EJEG_N-st0.dat : Left axis

beratung-unser-haus-EJEG_N-st0.dat : Right axis

Collector area [qm]

18

17

16

15

14

13

12

11

10

9

8

7

6

5

4

3

2

1

0

Costs [EUR/Year]

200

150

100

50

0

-50

-100

-150

-200

-250

-300

Energy [kWh/Year]

14.000

13.000

12.000

11.000

10.000

9.000

8.000

7.000

6.000

5.000

4.000

3.000

2.000

1.000

0

-309,693

-5,298

91,097

187,515

13.308,889

11.867,429

11.492,52

11.303,331


 AUTONUMLGL 
System 3

 AUTONUMLGL 
System 3, collectors only

[image: image6.wmf]beratung-unser-haus-ZJEG-L-WW_N-st0.dat : Left axis

beratung-unser-haus-ZJEG-L-WW_N-st0.dat : Right axis

Collector area [qm]

18

17

16

15

14

13

12

11

10

9

8

7

6

5

4

3

2

1

0

Costs [EUR/Year]

2.400

2.200

2.000

1.800

1.600

1.400

1.200

1.000

800

600

400

200

0

Energy [kWh/Year]

12.000

11.000

10.000

9.000

8.000

7.000

6.000

5.000

4.000

3.000

2.000

1.000

0

2.318,536

2.242,012

2.154,439

2.185,019

10.987,778

5.278,81

2.953,218

2.125,369


 AUTONUMLGL 
System 3 with collectors

[image: image7.wmf]beratung-unser-haus-ZJEG-L-WW_N-st0.dat : Left axis

beratung-unser-haus-ZJEG-L-WW_N-st0.dat : Right axis

Collector area [qm]

18

17

16

15

14

13

12

11

10

9

8

7

6

5

4

3

2

1

0

Costs [EUR/Year]

-140

-160

-180

-200

-220

-240

-260

-280

-300

-320

-340

Energy [kWh/Year]

12.000

11.000

10.000

9.000

8.000

7.000

6.000

5.000

4.000

3.000

2.000

1.000

0

-309,693

-201,942

-216,277

-152,534

10.987,778

5.278,81

2.953,218

2.125,369


Additional assumptions to input form:

Costs for intermediate heat pump:
1.000 €

Costs for air heat exchanger:

1.000 €

Costs for vacuum tubes:

333 €/qm


 AUTONUMLGL 
Complete consulting

To get further information on consulting services, visit the internet page of EcoSol.

www.economic-solar-energy.de

· The energy consume is calculated on the basis of a detailed description of the system and the energy consume.

· The results are delivered as data files.

· The costs can be calculated for different prices and system variations.

PAGE  
1

